## Sheet1
Part List
Dewar Dryer (P-51601, Gonen Tamir)
Item | QTY | Price/each | Vendor | Stock# or CAD file | Web link
Purchasing
J termocouple with SMP plug | 1 pack | $100.00/pack | Omega | SA1XL-J-SRTC | http://www.omega.com/pptst/SA1XL.html
Cartridge Heater High Temp, Std Lead Cover, 3/8" Dia, 6", 120 VAC, 400W | 2 | 32.45 | McMaster | 3618K448 | http://www.mcmaster.com/#3618K448
Stainless Steel Shape Type 304/304L, Round Tube, 1/2" OD, 6' Length | 1 | 44.6 | McMaster | 8457K576 | http://www.mcmaster.com/#8457K576
U-channel silicone rubber profile 1/2" x 1/2" | 5 ft | $3.12/ft | McMaster | 3510K4 | http://www.mcmaster.com/#3510K4
Aluminum Breadboard, 12" x 18" | 1 | 208.7 | Thorlabs | MB1218 | http://www.thorlabs.com/thorProduct.cfm?partNumber=MB1218
Ø1" Pillar Post Extension, Length=3" | 5 | 23.5 | Thorlabs | RS3 | http://www.thorlabs.com/thorProduct.cfm?partNumber=RS3
Ø1" Pillar Post Extension, Length=12" | 5 | 54.5 | Thorlabs | RS12 | http://www.thorlabs.com/thorProduct.cfm?partNumber=RS12
Subminiature Snap-Acting Switch (SPST-NO) | 2 | 5.47 | Mouser | 540-DC2C-A1LB | http://www.mouser.com/ProductDetail/Cherry-Electrical/DC2C-A1LB/?qs=Z7NFYKyvgJdwWxXMZXqbpg%3d%3d
Panel-Mount Brass Ball Valve Elbow, 1/4" NPT Female | 2 | 33.58 | McMaster | 4118T64 | http://www.mcmaster.com/#4118T64
Push-to-Connect Fitting Tee for 3/8" Tube OD | 1 | 6.15 | McMaster | 5111K534 | http://www.mcmaster.com/#5111K534
Push-to-Connect Tube Fitting Adapter for 3/8" Tube OD X 1/4" NPT Male Pipe | 4 | 3.93 | McMaster | 5779K116 | http://www.mcmaster.com/#5779K116
Coupling Body, Panel Mount, 3/8" OD Tube | 1 | 21 | Cole Parmer | HFC12612 | http://www.coleparmer.com/Product/Coupling_Body_Panel_Mount_3_8_OD_Tube/EW-31303-77
Quick-disconnect fittings, Straight-through hose barbs inserts, 1/2" ID tube | 1 | 6.5 | Cole Parmer | HFC22812 | http://www.coleparmer.com/Product/Quick_disconnect_fittings_Straight_through_hose_barbs_inserts_PP_3_8/EW-31303-41
Ø1" Pillar Post Extension, Length=2" | 5 | 21.5 | Thorlabs | RS2 | http://www.thorlabs.com/thorProduct.cfm?partNumber=RS2
1/32 DIN Controller with Two SSR Outputs | 2 | 202 | Omega | CNi3222 | http://www.omega.com/ppt/pptsc.asp?ref=CNI32_Series&Nav=temp02
Solid state dual relay | 1 | 53 | Omega | SSRLDUAL240DC25 | http://www.omega.com/ppt/pptsc.asp?ref=SSRDUAL240&Nav=temp10
Rocked switch | 2 |  | <stock>
AC connector | 1 |  | <stock>
Fuse holder | 1 |  | <stock>
PVC hube 3/8" OD, 1/4" ID |  |  | <stock>
Machining
Heater plate | 1 |  |  | HeaterPlate.dwg
Top plate | 1 |  |  | TopPlate.dwg
Heater holder | 2 |  |  | HeaterHolder.dwg
Button | 2 |  |  | Button.dwg
Front panel | 1 |  |  | FrontPanel.dwg
Back panel | 1 |  |  | BackPanel.dwg
Side panel | 2 |  |  | SidePanel.dwg
Controller plate | 1 |  |  | ControllerPlate.dwg